$Text: -

# 1.0 GENERAL INFORMATION:

## 1.1 Brief information on the site:

From the provided text, extract and present the following information exactly as it appears in the source text. Copy verbatim without summarizing, paraphrasing, inferring, or adding any information not explicitly present.

Present the extracted information strictly in the following order:

**1.0 GENERAL INFORMATION**

**1.1 Brief information on the site**

Company overview and mission

Relationship between [Site Name] and Thermo Fisher Scientific Inc.

Registration details for all sites

Quality Management System (QMS)

Address

**Note:** Ensure corresponding details are listed in the same structure. Do not add any subheadings other than 'Legal Manufacturer Address:' and 'Manufacturing Site Address:' under the Address section.”

Required sections:

• Company overview and mission of Thermo Fisher Scientific Inc.

• Relationship between [Site Name] and Thermo Fisher Scientific Inc.

• Registration details: Extract the site name, legal entity name, and registration number exactly as they appear in the text. Include registration number if present. Give the information in paragraph form.

• Quality Management System (QMS) at [Site Name] site: Include only whether the QMS is established, implemented, maintained, and its effectiveness is continually improved in accordance with the respective standards. Do not include additional details (documentation, training, manuals, processes).

Note: Do not create any subheadings for the above sections.

• Addresses ([Site Name] site only):

Extract only the complete postal addresses for the legal manufacturer and manufacturing site locations exactly as they appear in the text.Use the following format:

Address:

Legal Manufacturer Address:

[details as in text]

Manufacturing Site Address:

[details as in text]

**Note: **If both Legal and Manufacturing site addresses are the same, use this wording instead:

“Legal and Manufacturing site address is as follows:” followed by the address.

If they differ, present them separately under the two allowed subheadings.

Formatting Instructions:

• Add the main heading: **1.0 GENERAL INFORMATION: **

• Add the sub-heading: **1.1 Brief information on the site:**

• Under Address, include only the two subheadings listed above.

• Do not create any other subheadings elsewhere.

• Copy addresses exactly as written in the text, preserving prefixes (e.g., “D - 63505”), punctuation, and spacing.

If a fact is not present in the provided context, write: [To be confirmed by site]. Do not infer or assume.

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Text: -

## 1.2 Manufacturing Activities

If a fact is not present in the provided context, write: [To be confirmed by site]. Do not infer or assume.

Write a brief description of the site of [Site Name], The output should include only:

- The types of products manufactured at the site.

- The main functions and activities performed at the facility.

- Do not mention how much area the facility covers and the number of employees working at the site.

- Do not mention safety standards or certifications.

Note: Do not create any subheadings.

Note: The information should be extracted from the text and presented in a clear and concise manner, without any additional details or assumptions.

- add only main heading at the top is  “1.2 Manufacturing Activities:” and make It bold

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Text: -

## 1.3 Any other operations carried out on the site

- Provide if any information available for any other operations carried out on the site [Site Name] ., if data is not available in the input text, then please mention N/A

- add only main heading at the top is “1.3 Any other operations carried out on the site:"

If a fact is not present in the provided context, write: [To be confirmed by site]. Do not infer or assume.

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Text: -

## 1.4 Name and exact address of the site:

Provide the name and exact Legal Manufacturer Address of the [Site Name], including the telephone number, fax number, website, and email contact. Format the response exactly as shown in the example below:

- Ensure the output contains only English language content.

Example:

THERMO FISHER SCIENTIFIC

401 Millcreek Road Bld. 300, Marietta,

Ohio 45750-4304 USA.

Tel: (740) 516-5047

Fax: (740) 374-1845

Website: www.thermofisher.com

Email: jay.starcher@thermofisher.com

## - add only main heading at the top is “1.4 Name and exact address of the site:”

If a fact is not present in the provided context, write: [To be confirmed by site]. Do not infer or assume.

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Static_Text:-

## **1.5 Medical Devices handled on the site**

Types of Medical Device handled are listed in the table below:

$Table: -

Table 1: Medical Devices handled on the site

Table 1: Medical Devices handled on the site

Mention the type of Medical Devices handled on the site and information about specifically toxic or hazardous substances handled, mentioning the way they are handled and precautions taken. For each device, provide a brief description of its intended use under the "Intended Use" column. Format the table as follows:

Note: when extracting the intended use, extract *exact* description of the intended use for each device as stated in the input.

Note: Give provision to 'Use input required' if some devices are missing.

**Table 1: Medical Devices handled on the site**

Columns:

- Device Name

- Intended Use

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Text

## 1.6 Short description of the site:

- First write as static only [] value replace: “The [site name] is located at the address provided below and is responsible for the manufacturing of [class of device] devices. The site is certified by [ISO full name] and complies with the environmental regulation [environmental regulation name].”

-From the input text, extract all the locations or addresses listed under “premises and facilities of a manufacturing site” as they appear. For each address:

- Begin with a bullet point (“-”).

- If the address contains a comma, write the address part up to the comma, then move the remaining part to the next line.

- After the full address is written, add the corresponding 2 or 3 activity of the site on a new line.

Do not include any other details beyond the required site description and the extracted addresses with activities.

- add only main heading at the top is “1.6 Short description of the site:” make is bold

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Static_text

The above sites manufacture, packages and ships laboratory equipment.  The facility consists of manufacturing areas, administrative and engineering offices, quality control laboratories, receiving/warehousing, facilities/ maintenance areas, and product storage areas. Infrastructure includes, as applicable, buildings, workspace and utilities, process equipment, and support services. Appendix A shows the google map of the manufacturing site.

$ Text:

## **1.7 Number of employees engaged in production, quality control, warehousing, and distribution: **

- -Find the Number of employees engaged in production, quality control, warehousing, and distribution from the given text if data is not present then then write “User Input Required”

- Add heading on the top “1.7 Number of employees engaged in production, quality control, warehousing, and distribution)”

@! Find the document which is related to No of employ in the site

$Text

## 1.8 Use of outside scientific, analytical or other technical assistance in relation to design, manufacture and testing:

Your task is to generate a formal, concise paragraph describing the use of outside scientific, analytical, or technical assistance in relation to the design, manufacture, and testing of a device. The content should cover the following points:

-Describe the company’s role in manufacturing, distribution, design, and development of devices.

-Clarify the responsibility for verification and validation of the device.

-Mention the technical assistance sought from external laboratories or organizations, specifying the types of testing they conduct (e.g., safety, EMI/EMC, performance testing).

-Include the names of the outsourced laboratories or organizations providing this technical assistance.

The paragraph should be structured without headings, written in a formal, regulatory-compliant tone suitable for documentation. Do not include unnecessary information or embellishments.

- add only main heading at the top is “1.8 Use of outside scientific, analytical or other technical assistance in relation to design, manufacture and testing:” make is bold

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Text:-

## 1.9 Short description of the quality management system of the company:

Your task is to extract the summary of the quality management system (QMS) of the manufacturing site from the input text. The summary should include the following elements:

- A brief overview of the quality management system (QMS) in place at the manufacturing site in lines 2 to 3 lines.

- then write as-is [site name]'s ISO Scope of registration is as follows: from the input text. and if there is point wise then make point wise list of the scope of registration. Each point should be a separate line.

- if the above and below paragraph of "ISO Scope of registration" is related to ISO or Registration Number related then add only those paragraphs "as-is" in output as well.

Ensure that the output maintains the formal, regulatory-compliant tone suitable for documentation. Avoid adding any extra information or commentary.

- add only main heading at the top is “1.9 Short description of the quality management system of the company:” Make is bold

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Static_text:-

## **1.10 Devices details registered with foreign countries**

User Input Required

$Static_text

## **1.11 Brief description of testing facility**

User Input Required

$Static_Text: -

# **2.0 PERSONNEL: **

## **2.1 Organization chart: **

Org charts have been established to show the interrelation of personnel in the organization.  Job descriptions define the responsibilities and authorities of each of the positions.  Job descriptions and the organizational chart are reviewed and approved by top management for adequacy. These documents are to help employees understand responsibilities and authorities. Refer to Appendix B for the established organization chart.

$Text: -

## 2.2 Qualifications, experience and responsibilities of key personnel:

- Extract relevant information about the qualifications, experience, and responsibilities of key personnel from the documents provided.

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that matches the specified title or contains relevant sections based on the provided criteria.

- Once the relevant document is identified, extract the following:

1. Describe the role of top management in maintaining quality systems from the specified section (e.g., "RESPONSIBILITY AND AUTHORITY").

2. Extract the complete content of the specified sections (e.g., "HUMAN RESOURCES", "Roles and Responsibilities") exactly as written.

- Exclude any unrelated or regulatory roles unless explicitly requested.

- add only main heading at the top is “2.2 Qualifications, experience and responsibilities of key personnel:” make is bold

@! Find the document that provides Quality Management System (QMS) policies and procedures for Thermo Fisher Scientific, covering design, manufacturing, distribution, service, and regulatory compliance.

$Text:-

## 2.3 Outline of arrangements for basic and in-service training and how records are maintained:

- Extract an outline of arrangements for basic and in-service training, including how records are maintained.

- The input text consists of multiple documents, each separated by the delimiter "##########################".

- Identify the document that contains relevant information about training, certification, and records management.

- Once the relevant document is identified:

- If the "Definitions/Responsibilities:" section is present and pertains to training arrangements, certification processes, and records management, extract it as-is, preserving the original formatting. Do not extract any table data or tables.

- If the "Definitions/Responsibilities:" section is not clearly mentioned, extract only the "Procedure" section related to training arrangements, certification processes, and records management. Do not extract any table data or tables.

- Ensure the output contains **only English text** and exclude any content in other languages.

- Maintain the original structure and formatting of the extracted content, but apply a clear hierarchy starting with the heading:

Add main heading  **2.3 Outline of arrangements for basic and in-service training and how records are maintained:** and make it bold

- Do not include the entire document; extract only the relevant sections.

- Do not strictly follow the original numbering of the document; instead, focus on presenting the content logically under the main heading.

@! Find the document that provides Procedure for personnel training and certification at Thermo Fisher Scientific, covering competencies, qualifications, and record keeping for activities affecting product quality.

$Text:-

## 2.4 Health requirements for personnel engaged in production:

- Describe the Procedure for Health requirements for personnel engaged in production at [site name].

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that contains information related to 'Health requirements for personnel engaged in production'

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section Description and give all steps related to Health requirements for personnel engaged in production.

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is “2.4 Health requirements for personnel engaged in production:” make is bold"""

@! Find the document that provides Procedure for health, safety, and contamination control policies at Thermo Fisher Scientific, covering personnel protection, workplace environment, incident reporting, and safe work practices

$Text:-

## 2.5 Personnel hygiene requirements (including clothing): **

Analyze the provided input text, which consists of multiple documents separated by the phrase "##########################." Perform the following tasks:

- Identify the document where the 'Purpose:' section explicitly mentions the keyword 'Health.'

- Once the relevant document is identified, Address the following Personnel hygiene requirements (including clothing):

- How site management ensures a safe and suitable work environment for employees.

- The use of personal protective equipment, work environment, environmental controls, personnel clothing, and practices defined to support processes.

- Safety training requirements for new associates.

- Guidelines for production employees, including housekeeping, drink consumption, food consumption/storage, hair length, and PPE only.

- DO not repeat the points mentioned above as subheadings in the output.

Note: The response should not include any subheadings or additional content beyond the specific details requested above.

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is 2.5 Personnel hygiene requirements (including clothing):” make is bold

@! Find the document that provides Procedure for health, safety, and contamination control policies at Thermo Fisher Scientific, covering personnel protection, workplace environment, incident reporting, and safe work practices

$Text: -

# **3.0 PREMISES AND FACILITIES: **

## **3.1 Layout of premises with indication of scale: **

“**Appendix C** shows the layout of the following buildings located in” write as  static text

-From the input text, extract all the locations or addresses listed under “premises and facilities of a manufacturing site” as they appear. For each address:

- Begin with a bullet point (“-”) and continue. Make it bold

- If the address contains a comma, write the address part up to the comma, then move the remaining part to the next line.

- After the full address is written, add the corresponding 2 or 3 activities of the site on a new line.

Please Do not include any other details beyond the required site addresses with activities.

- add only main heading at the top is “3.0 PREMISES AND FACILITIES:” and sub-heading “3.1 Layout of premises with indication of scale:” make it bold

@! Find the document that provides Thermo Fisher Scientific company overview, mission, site relationships, registration details, Quality Management System (QMS) scope, policies, legal and manufacturing site addresses especially concerning medical devices.

$Static_Text

## **3.2 Nature of construction, finishes/fixtures and fittings**

User Input Required

$Static_Text

## **3.3 Ventilation Systems**

User Input Required

$Static_Text

## **3.4 Special areas for the handling of highly toxic, hazardous and sensitizing materials**

User Input Required

$Static_Text

## **3.5 Water Systems **

User Input Required

$Text

## 3.6 Maintenance

-The input text consists of multiple documents, each separated by the phrase "##########################". From these, identify the document where the text is related to maintenance, specifically the description of planned preventive maintenance programs for premises and recording systems.

-Once identified, extract only the plant maintenance-related information in the input text. Do not include any other content from the document.

Instead of extracting the plant maintenance-related information as-is, provide a summarized version of the plant maintenance-related information.

-Add the main heading a “3.5 Maintenance:” and make it bold

@! find the related to maintenance, description of planned preventive maintenance programmes for premises and recording system.

$Static_text

# **4.0 EQUIPMENT: **

## **4.1 Major production and quality control laboratories equipment: **

User Input Required

$Text:-

## 4.2 Maintenance:

The input text consists of multiple documents, each separated by the phrase "##########################".

- Your task is to identify the document where document’s text is related to maintenance information and repair related "

-Once identified documents then **extract only equipment related maintenance information** and summarize information points, make sure do not extract other information.

- output must be in English language

- Add main heading at the top is “4.2 Maintenance:” make it bold

@! Find the document that related to the Maintenance

$Text

## 4.3 Qualification and calibration:

The input text consists of multiple documents, each separated by the phrase "##########################". Identify all documents where the text is related to qualification, validation (including calibration or validation of computer-aided systems), control, process validation, or similar validation-related activities.

From the identified documents, extract only the content under the 'Procedure' section, ensuring no data is taken from validation master plan–related documents text . Exclude any subheadings or titles such as "Procedure " or other section headers.

The extracted output must be presented only in English, with “4.3 Qualification and calibration” as the single main heading at the top.

@! Find the document that related qualification and calibration, including the recording system. Arrangements for computerized systems of validation.

$Text

# 5.0 SANITATION:

The input text consists of multiple documents, each separated by the phrase “##########################”.

- Your task is to identify the document where document text is related to pest management programs, pest prevention, or pest control. any of them"

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section exactly.

-Do not begin the section with words such as 'Procedure’, 'Definition,' or similar terms.

- please Only consider English text and ignore any other language text.

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is “5.0 SANITATION:” make is bold

-Use bold text for sub-section heading with ** bold**

-Use the bullet symbol “•" for any sub-section heading  under the main heading and make it bold

-Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that related to pest control and pest management program for Thermo Fisher Scientific, including procedures for pest prevention, monitoring, and control measures.

$Text

# 6.0 PRODUCTION:

## 6.1 Brief description of production operations:

The input text consists of multiple documents, each separated by the phrase "##########################".

- Your task is to identify the document text related to the manufacturing steps OR Sequence of production OR manufacturing process. Include steps like START FILE, START ASSEMBLY, door assembly, wire assembly, testing, packing label packaging, shipping related.

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section summaries and give all steps related to manufacturing production OR sequence of production

- excluding any subheadings or titles like "Procedure" or other section headers.

- please Only consider English text and ignore any other language text.

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- Add main heading at the top is “6.0 PRODUCTION:” and subheading “6.1 Brief description of production operations:” Make it bold

-Use the bullet symbol "•" for any sub-section under the main heading

-Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that related to line flow chart, Processing Production, sequence of production

$Text

## 6.2 Handling of starting materials, packaging materials, bulk and finished products, including sampling, quarantine, release and storage:

The input text consists of multiple documents text, each separated by the phrase "##########################".

- first your task is to identify which one document’s text is related to Handling and Storage requirements for Material(s)/Product (s) OR process of picking, packing and shipping transfer of orders

- then your task is to extract the "Handling", "Storage:" and "Packaging, Preservation and Distribution:" from the above relevant documents text

Handling: Extract from the Handling and Storage requirements for Material(s)/Product (s),

Storage: Extract from the Handling and Storage requirements for Material(s)/Product (s),

Packaging, Preservation and Distribution: Extract the procedure as-is from the relevant document's text

- add only main heading at the top is “6.2 Handling of starting materials, packaging materials, bulk and finished products, including sampling, quarantine, release and storage” make is bold

-Use bold text for sub-section heading with ** bold**

-Use a hyphen "-" for points.

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that related to handling, storage, and distribution of materials and products, including procedures for handling, storage, packaging, preservation, and distribution

$Text

## 6.3 Reprocessing or rework:

The input text consists of multiple documents, each separated by the phrase "##########################".

- Your task is to identify the document text is related to Rework, reprocessing, Return process, defective parts

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section summaries and give all steps related to Rework, reprocessing, Return process, defective parts

- excluding any subheadings or titles like "Procedure" or other section headers.

- please Only consider English text and ignore any other language text.

- do not add any other information or comments. for example, do not add any other procedure or definition which is not related to Rework, reprocessing, Return process, defective parts OR Production (Rework) Orders, Material for Rework Form.

all data extract under title "Reprocessing or Rework"

-Must:**do not add any heading or sub heading or sub section just write in main heading**

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is “6.3 Reprocessing or rework:” make is bold

- Use bold text for sub-section heading

- Use a hyphen "-" for points.

@! Find the document that related to Rework, reprocessing, Return process, defective parts, damage

$Text

## 6.4 Handling of rejected materials and products:

-The input text consists of multiple documents, each separated by the phrase "##########################".

-your task is to extract the Procedure of non-conforming material/control “as-is" mentioned in input text.

-do not omit any procedure step related to non-conforming control from the input text.

-do not add any extra information or comments.

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is “6.4 Handling of rejected materials and products:” make is bold

- Use a hyphen "-" for points.

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that related to process validation plan, reworking, faulty product, rejected materials and products

$Text

## 6.5 General policy for process validation:

-The input text consists of multiple documents, each separated by the phrase "##########################".

- Your task is to identify the documents text related to process validation plan, validation plan, process validation, procedure for the validation, process instruction.

- Once the relevant documents are identified:

- "Extract and summarize the content of the 'Ablaufbeschreibung' or 'Procedure' section, focusing on all steps related to the process validation plan, validation procedure, process validation, and process instructions from all relevant documents."

Add subheading “Procedure is as follows:” then start

- please Only consider English text and ignore any other language text.

- add only main heading at the top is “6.5 General policy for process validation:” make is bold

-Use a hyphen "-" for points.

@! Find the document that related to process validation plan, validation plan, process validation, procedure for the validation, process instruction

$Static_Text

## **6.6 Sterilization facility: **

[Site Name] does not manufacture any products that are sterilized. [Site Name] does not manufacture any product that is subjected to a cleaning process prior to sterilization and/or its use. \n

Documented procedures have been established to ensure product cleanliness meets customer requirements. Products are cleaned to remove dirt, residual oils, etc. and are provided non-sterile to our customers.\n

[Site Name] has established environmental controls to ensure that the cleanliness of products is maintained throughout the manufacturing and storage processes. These controls ensure that products are handled and stored appropriately to avoid contamination of new or existing products

$Static_Text:-

# **7.0 QUALITY ASSURANCE**

The Quality Assurance process includes the following:

- - Receiving Inspection of Purchased Materials

- - In-Process Inspection

- - Final Inspection

$Text:-

** Receiving Inspection of Purchased Materials: **

Describe the procedure for **Receiving Inspection of Purchased Materials**.

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that contains information related to 'Receiving Inspection of Purchased Materials.'

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section Description and give all steps related to Receiving Inspection of Purchased Materials.

- Ignore table-related data.

- Do not add any extra information, comments, or interpretations.

- Preserve the formatting including:

• The response must strictly follow the hierarchical structure as provided in the input text.

• Maintain paragraph breaks and spacing.

• Do not add bold text to headings.

- add only main heading at the top is "Receiving Inspection of Purchased Materials:” make is bold"""

@! Find the document that provides Procedure for receiving inspection of purchased materials, including incoming quality control, sampling plans, and nonconforming material handling at Thermo Fisher Scientific.

$Text:-

Describe the procedure for **In-Process Inspection**.

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that contains information related to 'In-Process Inspection'

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section Description and give all steps related to In-Process Inspection.

- Ignore table-related data.

- Do not add any extra information, comments, or interpretations.

- Preserve the formatting including:

• The response must strictly follow the hierarchical structure as provided in the input text.

• Maintain paragraph breaks and spacing.

• Do not add bold text to headings.

- add only main heading at the top is "In-Process Inspection:” make is bold

@! Find the document that provides Procedure for In-Process product inspection (In-Process Inspection) and quality acceptance criteria on production lines at Thermo Fisher Scientific, including documentation review and nonconforming material control.

$Text: -

Describe the procedure for **Final Inspection**.

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that contains information related to 'Final Inspection.'

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section Description and give all steps related to Final Inspection.

- Ignore table-related data.

- Do not add any extra information, comments, or interpretations.

- Preserve the formatting including:

• The response must strictly follow the hierarchical structure as provided in the input text.

• Maintain paragraph breaks and spacing.

• Do not add bold text to headings.

- add only main heading at the top is "Final Inspection:” make is bold

@! Find the document that provides Procedure for final product inspection (Final Inspection) and quality acceptance criteria on production lines at Thermo Fisher Scientific, including documentation review and nonconforming material control.

$Text

# 8.0 STORAGE

The input text consists of multiple documents, each separated by the phrase "##########################".

"Your task is to extract the content of the 'Definitions and Responsibilities' section up until the 'Process Flow Chart' section as-is from the document, focusing on text related to storage requirements for materials OR product storage, transport, handling and storage of goods. If this section is not available, extract the 'Procedure' section and summarize the relevant content."

- Make sure Do not add Procedure Section in output

- Make sure Output do not mention title only extract text

- do not omit any points of given sections extract all sub heading point

Response output instructions:

- In output Make sure that extract only the body text, points from the input, excluding any headings, subheadings, or labels. The text should be extracted as-is, maintaining the original flow and formatting like new points with new line same as input, but without including any identified headings or section names

- add only main heading at the top is “8.0 STORAGE:” make is bold

- Use the bullet symbol “•” for any sub-section under the main heading an.

- Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

- Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that related to storage requirements for material, shipping, Product Storage, transport, handling and storage, Transport and storage of goods

$Text: -

# 9.0 DOCUMENTATION:

- Explain how the [Site Name] site manages its Quality Management System (QMS) documents using various systems (e.g., Agile, Arena) and procedures for document management.

- Identify the systems used (e.g., Agile, Arena) and describe their mechanisms for input, evaluation, approval, and implementation of changes.

- List the levels of the Quality Management System (QMS) and the types of documents included in each level. Maintain the original structure and formatting (e.g., Level I, Level II, etc.).

- Explain how documents are identified (e.g., by unique document number, revision, and effective date).

- Extract the detailed procedures for "Control of Documents" from the provided document. Focus on the section describing the "Document life cycle" and extract the steps with Description under the subheading "Documented procedures have been established for:". Present this explanation in bulleted points only. Maintain the exact descriptions as written in the input text.

- At the last, summarize the information related to changes to documents, storage/retention period, and record control in one single paragraph without bullet points.

- Maintain the original structure and formatting of the extracted content, but apply a clear hierarchy starting with the heading:**9.0 DOCUMENTATION:**

Note: Avoid subheadings in the final response.

@! Find the document that contains CONTROL OF DOCUMENTS, within which it contains Documented procedures for controlling documents, including approval, revision, distribution, storage, archiving, and coordination with regulatory authorities.

$Text

# 10.0 MEDICAL DEVICE COMPLAINTS & FIELD SAFETY CORRECTIVE ACTION:

## 10.1 Arrangements for the handling of complaints:

Extract an outline of arrangements for the handling of complaints.

- The input text consists of multiple documents, each separated by the phrase "##########################".

Your task is to:

1. Identify the document where the "Zweck/Purpose" section explicitly contains the whole word “complaint” or “complaints” (case-insensitive).

- The "Zweck/Purpose" section may contain text in multiple languages. Only consider the English content and ignore any non-English text.

- Ensure that the word “complaint” or “complaints” is present in the English content of the "Purpose" section.

2. Once the relevant document is identified:

- Locate the **Procedure** section.

- Extract only the content of the **Procedure** section exactly as written, excluding any subheadings, titles, or other section headers (e.g., "Procedure Steps").

- Ensure the extracted content is presented under the side heading **Procedure is as follows: ** in the output.

Please only consider English text and ignore any other language text.

This helps to create a comprehensive standard operating procedure section for handling medical device complaints.

- Add heading “10.0 MEDICAL DEVICE COMPLAINTS & FIELD SAFETY CORRECTIVE ACTION:”

- Add subheading “10.1 Arrangements for the handling of complaints”

- Use a hyphen "-" for points.

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that provides SOP for handling technical and medical product complaints and service issues, including investigation, root cause, and regulatory reporting for Thermo Fisher

$Text: -

10.2 Arrangements for the handling of field safety corrective action:

Describe the procedure for "Arrangements for the handling of field safety corrective action"

- The input text consists of multiple documents, each separated by a unique delimiter (e.g., "##########################").

- Identify the document that contains information related to 'Arrangements for the handling of field safety corrective action.'

- Once the relevant document is identified:

- Extract only the content of the "Ablaufbeschreibung " OR 'Procedure' section Description and give all steps related to product recalls, corrections, health hazard evaluations, and regulatory reporting.

-The response must strictly follow the hierarchical structure as provided in the input text.

- Retain the exact formatting and wording as written in the document.

- Ignore other sections such as Purpose, Scope, Definitions, etc.,

- please Only consider English text and ignore any other language text.

- add only main heading at the top is “10.2 Arrangements for the handling of field safety corrective action” and subheading “Procedure is as follows:” make it bold

-Use the bullet symbol "•" for any sub-section under the main heading.

-Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

-Preserve paragraph breaks and spacing exactly as they appear in the original.

@!Find the document that provides Procedure describing the field action process, including product recalls, corrections, health hazard evaluations, and regulatory reporting for Thermo Fisher Scientific

$Text

# 11.0  INTERNAL AUDIT:

-The input text consists of multiple documents text, each separated by the phrase "##########################".

- Identify and extract the section related to Auditor Qualification, Auditor Selection, Audit Schedule, Audit Report, or similar topics.

- Ensure the entire content of the "Procedure" section is extracted without omitting any details but do not add any reference documents

- Can the model write that “procedure is as follows:” on top of the section then write section, make it bold

- model can add “Audit follow up procedure is as follows” when Audit follow up part is present and make it bold

- If any tables are present in the procedure section, extract them in JSON format

- For tables to be extracted, prefix and suffix the table JSON with the “#!” symbol:

- Example: #! <table in JSON format> #! And ensure that only English-language tables are extracted.

- Make sure do not extract procedure as table form.

- Output should be in English language

- Add only main heading at the top is “11.0 INTERNAL AUDIT:” make is bold

- Use the bullet symbol "•" for any sub-section heading under the main heading and make it bold

- Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

- Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the documents related to internal audit process, including Auditor Qualification, Auditor Selection, Auditor Selection, and Audit Schedule for Thermo Fisher Scientific.

$Text

# 12.0 CONTRACT ACTIVITIES:

The input text consists of multiple documents, each separated by the phrase "##########################".

-Identify and extract the section related to the Supplier Selection, evaluation, re-evaluation process or similar topics.

-Ensure the entire content of the "Procedure" section is extracted as-is, without omitting any details or modifying the content in any way.

- If any tables are present in the section, extract them in JSON format such as table name, table columns name, table columns values.

- add “#!” symbol before table name and then write table in Json format and add “#!” symbol after the table Json.

Example: #! <table in JSON format> #!

- make sure extracted table only in English language.

- **make sure output is only English language do not generate in another language**

-do not omit any information or modify the content in any way. Ensure you to retain the original structure and details.

- do not add any extra information or comments.

- do not add Bold text and just "-" instead of number in point

*Maintain the original structure and formatting precisely, but also apply a clear hierarchy to the content

- add only main heading at the top is “12.0 CONTRACT ACTIVITIES:” make is bold

- do not add any numbers like 1.1, 1.2, 2.2.2, 6.1.1 or similar

- Use bold text for sub-section heading with ** bold**

- Use the bullet symbol "•" for any sub-section heading under the main heading.

- Use a hyphen "-" for sub-sub-points (details that fall under a bullet point).

- Preserve paragraph breaks and spacing exactly as they appear in the original.

@! Find the document that provides the related to Supplier Selection, Supplier Evaluation/Approval, Re-evaluation of Suppliers, Table 2: Frequency

$Static_Table

| # Annexure A: List of Appendices |  |
| --- | --- |
| Appendix A | Site Google Map |
| Appendix B | Organization Chart |
| Appendix C | Plant Layout |