$Text: -

1. Executive Summary
Write a detailed executive summary for a Device Master File (DMF) the [Device Name]. The output should begin with the heading "1. Executive Summary", and Structure the summary into the following sections and provide the required details for each section:

**1.1 Introduction**:\n

Provide an overview of the [device], its purpose, and its compliance with relevant regulations (e.g., Medical Devices Rules, 2017). Mention the device's classification, intended use (Do not write storage general way like biological sample, material give proper name from intended use), and its role in clinical and laboratory environments.

**Intended Use and Indication for Use**: Extract the *exact* description of the Intended Use **as-is** in the input document.

**Novel Features**: Indicate whether the [device] has any novel features or if it is based on existing technology. If not available, mention 'User Input Required'.

**Shelf Life of the Device**: State the expected useful life of the [device].

Note: Do not write storage general way like biological sample, material give proper name from intended use. Do not use terms like "biological samples", "biological materials", "sensitive materials," "sensitive biological materials," or "critical biological materials" in the summary. Avoid making assumptions or extrapolating beyond the information explicitly stated in the source documents.

Ensure the summary is concise, professional, and compliant with regulatory standards, while emphasizing the safety, performance, and clinical benefits of the device.

$ Static_Text: -

**Class of Device**: [Device Name] is classified as a Class B device under the Medical Devices Rules, 2017.

$ Static_Text: -

**Synopsis on the content of the Dossier:** The data presented in this Device Master File is related to the safety and effectiveness, about regulatory status of the product, product specifications, design description, product verification and validation, manufacturing process, risk management, clinical evaluation, labelling, directions for use and essential principle checklist and are summarised under appropriate sections in the dossier. Additional supporting information has been provided in the appendix which are referenced where applicable.

$ Text: -

1.2 Sterilization:

Provide the Sterilization related details for the [Device Name]:

Mention whether the [device] is sterile or non-sterile and if sterilization is required or intended.

$ Text: -

1.3 Risk Management:

Write as-is entire paragraph only change is ISO stander which extract from the  “6. RISK ANALYSIS AND CONTROL SUMMARY” section

“Formal Risk analysis for [Device Name] was conducted by Thermo Fisher in accordance with ISO 14971:2019, Application of Risk Management to Medical Devices and detailed information is described in section 6 of this device master file.”

$ Static_Text: -

**1.4 Clinical Evidence and Evaluation: **\n

The Clinical Evaluation for [Device Name] was conducted by Thermo Fisher. This clinical evaluation is documented in the Clinical Evaluation Plan and Report and is intended to describe the clinical data and pre-clinical study data available to support the safety and performance of the device, that the device represents state of the art, and that the benefits of the device outweigh the risk considering the state of the art

$ Text: -

1.5 Regulatory Status of the Similar Device:

Provide the Regulatory Status of Similar Devices for the [Device Name] in a single cohesive paragraph. Summarize the regulatory status of similar devices in the market by describing their general use and typical applications (e.g., laboratories, hospitals, research facilities). Highlight the availability of similar devices in the global market with comparable intended use and technological characteristics. Conclude by stating the substantial equivalence of the given device in terms of intended use(Do not write storage general way like biological sample, material give proper name from intended use),  technological characteristics, and construction to similar devices or predicate devices. Avoid using terms like "biological materials," "sensitive materials," or "critical biological materials."

$ Static_Text: -

**1.6 Regulatory Certificates: ** \n

[Device Name] has the following related certificates:\n

- ISO 13485 Certificate\n

- FDA listing\n

Copies of these certificates are enclosed in this application.

$ Text: -

1.7 Marketing History:

Provide the [Device Name] introduction date and summarize the marketing history of the device models don’t mention model name. Focus on the device's introduction and marketing history, without unnecessary details or explanations. And in only mention [Device Name] in device then don’t consider other series

$ Static_Text: -

Below table provide marketing details for the models that are similar to the models in scope of this application. These models vary depending on the voltage applicable to the country of sales.

$ Table: -

Table Name: “Table 1: Marketing History”

-Extract only those model  Sales(number of units sold) data strictly for those model numbers that are explicitly listed in the technical data sheet text of the [Device Name] series. ⚠️ The source content may include multiple email threads, each beginning with 'Mail: -'.
-give only global value for this

Note: The text may contain multiple email chains, each starting with **'Mail: -'**.

Your task is to understand the context of each conversation and extract only the **sales quantity** model sold in total  quntitiy (not the sales value).

**Columns**:[

- Model Number:(should be unique)

- Sales:(number of units sold)

]

$ Static_Text: -

**1.8 Domestic Price of the device in country of origin: **

The below table provides domestic price of [Device Name]:

$ Table: -

Extract the Domestic Price strictly for those model numbers that are explicitly listed in the technical data sheet text of the [Device Name] series. ⚠️ The source content may include multiple email threads, each beginning with 'Mail: -'.
Your task is to: Carefully interpret the context of each email conversation and technical data sheet, Ensure that only the models directly mentioned in the technical data sheet, Do not extract prices for models inferred from the conversation or not clearly documented in the technical sheet.🔒 Precision is critical — no assumptions, approximations, or extrapolations are allowed.

Table Name: - “Table 2: Domestic Price”

column: [

-Model Number,

-Unit Price (USD): extract the price of the model

]

$ Static_Text: -

**1.9 List of Regulatory Approvals: **

The below table provides regulatory approvals details of [Device Name]:

$ Static_Text: -

**Table 3: Regulatory Approvals: **\n

User Input Required

$ Static_Text: -

** Table 4: Table of Market Clearance: **\n

User Input Required

$ Text: -

1.10 Safety and performance related information on the device:

Provide the safety and performance-related details for the [Device Name] as follows:

- (a) State whether there are any reportable events or field safety corrective actions (FSCAs) since the device's introduction. If none, mention that this section is not applicable as there are no reportable events or field safety corrective actions (FSCAs) and provide the date of introduction.

- (b) Confirm that the device does not contain any of the following:

1. Animal or human cells, tissues, or derivatives.

2. Cells, tissues, or derivatives of microbial recombinant origin.

3. Irradiating components.

Respond only with the required details in the following format: (a) [Details about reportable events and FSCAs]

(b) [Confirmation about the absence of specified components]

Do not repeat the instructions, do not include subheadings, and do not add any unnecessary explanations.

$ Text: -

# 2. DEVICE DESCRIPTION & PRODUCT SPECIFICATION, INCLUDING VARIANTS & ACCESSORIES

## 2.1 Descriptive information for the device

(a) Device Description\n

Device Identification Clearly state the name of the [Device Name].

Extract only the "Indented Use" sections as-is from the input text.
Do not change formatting, words, or structure — copy exactly as written. (Do not write storage general way like biological sample, material give proper name from intended use)
Exclude any storage uses mentioning skin, tissue, or bone.

-Specify its purpose and identify target users (e.g., researchers, medical professionals).and do not add any random word outside the indented use Include relevant SI units, such as its capacity range (e.g., 300 to 600 cu. ft.) do not add model name.

-Explain the operating principles of the device, such as the refrigeration cycle and insulation methods. Highlight key features, operating modes, and available variants that align with its intended use.

-Summarize the essential system components, including but not limited to the compressor, cooling coils, control panel, sensors, insulation materials, and door seals.

-If applicable, mention any integrated software or firmware, detailing its role in functionalities of data logging, and alarm systems.

-Provide a brief overview of the primary materials used in the device’s construction.

Ensure the entire description is structured as a single well-organized paragraph, free of unnecessary elaboration. Exclude any mention of the device’s classification series and avoid adding new terms beyond what is explicitly required. Keep the response clear, concise, and strictly aligned with the provided criteria.

NOTE:

- Please don’t add ambient temperature. Do not mention any device classification or class in output. Do   not include any statements of assurance at the end.

$ Table: -

Extract and compile the necessary information on the [Device Name]. The section should include the following table:

-Table Name: - “Table 5: Device Information”

- Create a single table listing the generic name, model name, and model numbers of the device.

- Ensure that the table includes columns for the generic name, model name, and model numbers.

- The Model Name must always start with "Thermo Scientific" + [Device Name].

The table should be structured as follows:

-Columns: [

Generic Name,

Model Name,

Model No.]

$ Text: -

Materials of Construction: -

-Extract the materials of construction for the [Device Name].

- **Ensure that each component and materials used in its construction of this components are accurately extracted from the input text. **

-Present the information as a list of bullet points.

-Make sure don’t make bold components in sentence

-For each component, describe the material used in a clear and concise sentences that starts with a bullet point.

-Only include the materials that the components are made of, without mentioning any supplier or part number (e.g. Covestro's Makrolon ET3227, BASF's Autofroth 9300a) or properties of the material (e.g., strength, flexibility, or insulation properties).

-Do not mention properties of the material (e.g., strength, flexibility, or insulation properties).

-Ensure that the description focuses solely on the materials and does not include any other information about the components, such as the manufacturer or additional technical details.

$ Text: -

Intended Use:

Extract the *exact* description of the intended purpose as stated in the [Device Name] User Manual.

- During the extraction of the Intended Use, do not mention any device classification related information.

Ensure the final output is a single, coherent paragraph that encapsulates all of the above information in a clear, concise, and consistent manner, and strictly adheres to the manual's description.

$ Text: -

Indications:

Please extract and compile a comprehensive paragraph describing the Indications for Use of the [Device Name].

Use the Indications for Use as stated in the device's User Manual., If Indications for Use are not explicitly defined, state "No Indications are defined in the Installation and Operation manual..." and then proceed to extract the Intended Use statement.

Use the Intended Use as stated in the device's User Manual for reference.

- During the extraction of the Intended Use, do not mention any device classification related information.

- Do not use terms like "biological samples", "biological materials", "sensitive materials," "sensitive biological materials," or "critical biological materials" in the summary.

- During the extraction, do not generalize the information; stick to the words mentioned in the User Manual.

- Specify the key parameters the device is designed to maintain (e.g., temperature range) and extract the statement describing the essential performance of the equipment.

- Do not include any mention of the ambient environment temperature range.

- Do not include the phrase "as stated in the manual".

- Ensure all extracted information is directly supported by evidence found in the User manual or other official documentation, and do not make any assumptions or extrapolate beyond the information explicitly stated in the source documents.

The final output should be a single, coherent paragraph that accurately reflects the Indications for Use (or the absence thereof) and the Intended Use of the [Device Name], as described in its official documentation. Summarize the information in a clear and concise manner.

$ Text:-

Instructions for Use:

Specify the intended users and restrictions for the [Device Name] units, and whether the units are for use by the general public, in two lines.

$ Static_Text: -

IFU covers contraindication, warning, precautions, features, product specification, intended use, intended user and minimum requirements to be fulfilled for using the device etc. Refer Instruction for use available in Appendix A for detailed device information.

$ Text:-

Contraindications:

Extract any contraindications for the [Device Name]. If no contraindications are mentioned, identify and extract the 'not intended for' statement from the 'Intended Use' section of the document. Ensure the response is concise, accurate, and limited to two lines.

$ Text: -

Warnings Precautions:

first Extract all warning with respective category then extract all precaution with respective category

category: [General Recommendations, Installation, Ice Scraper Instruction, Chart Recorders - If installed (Optional), Backup System -If installed (Optional), Maintenance, Safety Considerations]

do not add “Category:” word and then name but  direct start with category name like General Recommendations:

$ Static_Text: -

**Potential Adverse Effects:**\n

<Not Available>

$ Text: -

(b) Intended Patient Population:

Please extract and compile a concise paragraph describing the intended user population who operate/use the [Device Name].

- Ensure the output specifies who can operate/use the device.

- Mention if the device is intended for use in any of the following occupancies: laboratories, commercial, industrial, or institutional occupancies.

- Do not mention any device classification related information.

- Do not mention temperature ranges mentioned in the Intended Use.

- Do not include anything related to Storage.

- Keep the output concise and focused on the user population and usage environments.

- Use the exact wording from the official documentation without adding additional information or rephrasing.

The final output should be a single, coherent paragraph that accurately reflects the intended user population for the [Device Name], as described in its official documentation.

$ Text: -

Medical Condition:

Provide a concise description of the [Device Name], covering the following aspects:

- write device name mention at start of the sentence. write main primary function for "intended for storage" of device strictly as per the intended use section from the input text.

- When describing intended for storage, mention only the **specific product(s)** stored in the device without ** temperature range** for those products. and also add additional product(s) name. Do **not** use generalized terms like “biological samples” or “medical products.”

- If device have temperature range, then only add device temperature range in the end of the sentence.

- Do **not** include the device classification or any additional information beyond the primary function and product-specific storage details.

- do not add any other information about the device, such as its series or classification.

- do not add like " this primary function is based on the intended use of the device" similar statement.

$ Static_Text: -

**(c) Principle of Operation: ** \n

The unit consists of a two-stage cascade refrigeration system to attain the cabinet temperature of -50°C to -80°C. Cascade system has two stage refrigeration systems connected by an inter-stage heat exchanger. The two systems when operated in conjunction will enable the system to reach desired setpoint in the cabinet where samples are stored.

The system operating at higher evaporating temperature is called “high stage system” where a refrigerant with higher boiling point (R290 in this unit) is used which is thermally connected with a system operating at lower evaporating temperature called “low stage system” where a refrigerant with lower boiling point (a mixture of R170 and R290 in this unit) is used. The low stage system will absorb the heat from the cabinet where samples are stored and reject it to the high stage system through the inter-stage heat exchanger. The high stage system will then reject the heat to the ambient. The refrigerants in these two systems do not mix with each other and operate as separate refrigeration circuit. The heat exchanger between the two systems only connects them thermally without any exchange of refrigerants.

The refrigerant in low stage system boils in the evaporator which is connected the cabinet and maintains the cabinet at desired setpoint. The refrigerant vapor is then compressed in low stage compressor, rejects the heat through inter-stage heat exchanger, expanded through expansion device and reaches evaporator as liquid closing the loop for low stage system. The refrigerant in high stage system boils in the inter-stage heat exchanger, gets compressed in high stage compressor, rejects the heat to ambient through a condenser, expanded in an expansion device and reaches the inter-stage heat exchanger closing the loop for high stage system. The system is equipped with sensors and controls so that both systems can operate safely and efficiently to maintain the cabinet in desired setpoint in the range of -50C to -80C. The control probe inside the cabinet monitors the temperature of cabinet and controls the switch IN-switch OFF the refrigeration system as needed to maintain the setpoint. Diagram below shows the refrigeration system layout.

$ Image: -

Key_word: working principal

$ Static_Text:-

** Figure 1: Working principal representation of [Device Name] **

$ Image: -

Key_word: working principal

Static_Text:-

** Figure 2: Representative image of [Device Name]**

$ Static_Text: -

**(d) Novel Features (if any): **\n

User Input Required\n

Note: Degree of Novelty Card for Medical Device can be found in Appendix B, refer to the Annex 1 of the attachment.

$ Static_Text: -

**(e) Accessories and other products that are intended to be used in combination: **\n

[Device Name] come with various accessories and can also be used with other optional accessories which may not be provided along with the product.

Below table provides information regarding various accessories and its description.

$ Table: -

Table Name: - Table 6: Accessories and description

Please create a table listing the various accessories and other products that are intended to be used in combination with the [Device Name]. Ensure that the table includes the following:

A column for "Accessories and Description," which lists each accessory and its corresponding description.

Columns for the model numbers of the [Device Name] device, where each model number is used as a unique column header.

The table should be structured as follows:

Extract the various accessories and other products intended to be used with the [Device Name] device and provide a description for each accessory.

Use the model numbers of the [Device Name] mentioned in the technical data sheet as column headers.

For each accessory, indicate the corresponding accessory number under the relevant model number column.

Columns:

Accessories and Description

[Model Number 1] (unique)

[Model Number 2] (unique, if any)

[Model Number 3] (unique, if any), and so on.

-Don’t generate “model 1”, “Model 2” give as-is model name mentioned in input text

-In table if any row contains “nan” more than 3 then delete those rows do not add on output

Ensure that all relevant accessories, their descriptions, and other combination products are included, along with the corresponding model numbers for each variant of the device. Refer to the User Manual and other official documentation for accurate information.

$ Text: -

Optional Accessories:

Extract detailed information only regarding the optional parts delivered with the device and provide a list of optional parts from the input document “as-is".

$ Static_text: -

**(f) Various Configurations or Variants of the Device: **\n

[Device Name] are available in various model variants which offers variety in the capacity of storage. The model numbers as listed in a Table 5 are part of the same product family. The devices share the same legal manufacturer, risk classification, intended purpose, as well as design and manufacturing process. They only differ by physical dimensions, weight and capacity of storage boxes which are recognized to be permissible variants.

$ Table: -

Extract the Various Configurations or Variants of the device table for the device: [Device Name]

Table Name: -  “Table 7: Various Configurations or Variants of the device”

Columns: [

-Device Family:(generate a device category from device name),

-Device Family Short Name:(Write the abbreviation form of device family name),

-Model :(should be unique),

-Capacity Cu.(L),

-Capacity Cryoboxes (2 in.),

-Electrical (voltage, frequency, current)]

If any column data not given, then write " user Input Required"

$ Static_Text: -

**(g) Key Functional Elements/Device Components (including pictorial representations): **

The [Device Name] are constructed from several different components, depending on the specific model.

The blood is stored in sealed blood bags. Blood products are not stored in open containers.

User is in direct contact with [Device Name] components (user accessible parts only, e.g., door handle, door, shelving, chart recorder, etc.) by contact with his/her hand (intact skin only contact). The duration of contact is anticipated to be transient (i.e., continuous use < 60 minutes) but cumulative exposure may be considered as short term (i.e. continuous use between 60 minutes and 30 days).\n

**Key Components for [Device Name] **\n

The following key components of the [Device Name] is described in the table below.

$ Table: -

Table Name: - “Table 8: Key Components for [Device Name]”

task:

extract data from the Table “List of critical components” which are mentioned in input text.the For each component or part (also includes same but optional or same but different technical data) mentioned in the “List of critical components” from the input text, extract the following details with precision and accuracy. Make sure do not omitting any part which mentioned in input file

**Note: If technical data is provided, then extract otherwise don’t extract that particular component**

Columns: [

-Description:

Identify and extract the names of key components and parts such as Compressor, Condenser, Evaporator, Dryer Filter, Refrigeration control components (e.g., Capillary tube, Relay Enclosure, LCD Panel), etc. Ensure that every component, regardless of how it's mentioned, is accurately identified and recorded. Look for all references to parts, devices, or components associated with the system.

-Part:

Extract the model number or type for each identified component. This includes any identifiers such as part numbers, model names, or specific type codes that uniquely define the component. Pay close attention to any variant names or numbers to ensure the correct part is extracted.

If you don’t any find Information, then just Write “-” for

-Specifications:

Extract the technical data for each component, making sure to capture detailed data is "as-is" from input technical data. Do not use plural forms. For each component, extract all relevant technical attributes such as capacity, material, size, voltage, power, etc., as mentioned in the technical data columns. The specifications should reflect the complete technical details, without any omission, in their exact form.

If you don’t any find Information, then just Write “-”

-Quantity:

For each identified component, extract the quantity specified in the document. If the quantity is not explicitly mentioned, set the quantity to "1" by default. If a different quantity is provided, extract and specify that exact number.]

Ensure that no component or part is missed during extraction. Every detail mentioned in the document related to these components should be accurately captured in their respective columns. Pay close attention to part models, technical specifications, and quantity to ensure completeness. If you don’t find any Information, then Write “-”

$ Static_Text: -

**(h)Material Information of Key Functional Elements/Device Components** \n

[Device Name] is comprised of several components and materials. The devices are not intended to directly contact patients, but users are anticipated to have direct contact with device components (e.g., door handle, door, shelving, chart recorder) via their hand (intact skin). Duration of contact is anticipated to be transient (i.e., continuous use < 60 minutes) but cumulative exposure may be considered as short term (i.e., continuous use between 60 minutes and 30 days). See Table 6: Key Components for [Device Name] for the key functional elements. \n

**Physical, Chemical, and Microbiological Characterization**\n

The following physical, chemical, and microbiological characterization of the [Device Name] was performed as described in below table. Microbiological aspect of the requirement is not applicable for this product.

$ Table: -

Table Name: - “Table 9: Physical, Chemical, and Microbiological Characterization”

Extract and compile the necessary information on the physical, chemical, and microbiological characterization of the properties tested. The section should include the following table:

Table Name: - “Table 9: Physical, Chemical, and Microbiological Characterization”

Columns:

1. **Property Tested**: Extract the properties tested from the "Test Name" column in the TEST RESULTS.

2. **Characterization Type**: Determine the characterization type (physical property, chemical property, biological property only) for each extracted property. Use the following rules:

- If the property relates to mechanical, structural, or physical attributes, classify it as "Physical Property".

- If the property relates to chemical composition, reactions, or safety, classify it as "Chemical Property".

- If the property relates to microbiological or biological testing, classify it as "Biological Property".

3. **Applicable Standard**: Extract the applicable standards explicitly associated with each property tested (e.g., 'IEC 61010-1:2010/AMD1:2016', 'UL 471', 'IEC 61010-2-011', 'CSA C22.2',....). Follow these rules:

- Include only standards directly tied to the property tested.

- If multiple standards are explicitly mentioned, include all of them.

- Always refer to 'IEC 61010-1' as 'IEC 61010-1:2010/AMD1:2016'.

- If no standard is explicitly mentioned, include "User Input Required".

4. **Acceptance Criteria**: Extract the clause number associated with the property tested (e.g., Clause 7.4, Clause 6, Clause 2.1). If unavailable, include "User Input Required".

5. **Report Title and Date**: Extracted from "Report No." and "Report (Re)Issue Date" mentioned in the document for each property tested. Ensure all available dates are included in the format: `<Report No.>, <Date1>; <Date2>; <Date3>, ...`. For example: `E473332-D1020-5/A3/C0-UL, 2022-10-12 (5); 2022-11-29 (A1); 2023-01-13 (A2), 2023-02-07 (A3)`. If no dates are available, exclude the property from the final table.

6. **Conclusion**: Always include "Test object does meet the requirement."

Ensure the table is comprehensive, unique, and coherent, covering all relevant details mentioned in the document.

$ Text: -

**(i) Ionizing Radiation: ** Write a concise disclaimer for the Ultra-Low Temperature (ULT) Freezer stating whether it emits ionizing radiation or not. Mention whether the device has been tested for electromagnetic safety according to the applicable standards and is deemed electromagnetically safe or not. Do not Mention any Model Numbers. End the disclaimer with: 'Refer to Appendix D- EMI/EMC Test Report for further details.

$ Static_Text: -

## **2.2 Product specification**\n

[Device Name] is designed for efficiency. As a result, the series delivers a foundational experience with the reliability and performance needed to protect users work—and the sustainability to meet global compliance. The devices are available in different models, with their features, dimensions, and performance attributes summarized in the table below. This information is also provided in the product brochure available in Appendix E.

$ Table: -

Table Name: “Table 10: Product specification”

Columns: [-Model :(should be unique and extract for all model),

-Temp range (°C),

-Capacity (L),

-Refrigerant,

-Connectivity,

-Power cord specifications,

-Electrical (voltage, frequency, current),

-Product capacity,

-Interior dimensions D x W x H (cm),

-Exterior dimensions D x W x H (cm),

-Shipping weight (kg)]

If any column data not given, then write " user Input Required"

Only consider table text of input text for extract table

Table Name: - Table 11: Performance Attributes of [Device Name]

Extract performance attributes for all model from the input text

Columns: [

-Model Number;(should be unique),

- Energy consumption (kWh/day),

- Peak variation from Y°C setpoint (°C) :( here Y variable you must fetch Y value from based on input text and put in place Y),

- 60-second door opening recovery time (minutes):(write time od door opening for 1 minute),

- Warm-up time (X°C to Z°C) (minutes):(extract data for warm-up time and here X and Z variable you must fetch X and Z value from based on input text and put in place of X and Z),

-Noise level (dBA): (extract data for noise level for model)

]

$ Text: -

Device Accessories:

Extract all detailed information regarding the parts (not optional) delivered with the device from the input document **“as-is” **.

Optional parts delivered with the device:

Extract detailed information regarding only the optional parts delivered with the device and provide a list of optional parts, along with other relevant details provided with the device from the input document “as-is".

$ Web Scraping: -

## 2.3 Reference to predicate or previous generations of the device:

$ Static_Text: -

# **3. LABELLING**\n

The shipping carton labels, Instruction for use, product brochure as well as all other promotional product material relevant to the use and function of the [Device Name] is contained in **Appendix E and Appendix A** of this device master file.

[Device Name] provides accessories as per user requirements and are subject to the configuration user chooses.

$ Text: -

Extract all detailed information regarding the parts(not optional) delivered with the [Device Name] from the input document **“as-is” **

Extract detailed information regarding the only optional parts delivered with the [Device Name] and provide a list of optional parts, along with other relevant details provided with the device from the input document “as-is".

$ Static_Text: -

# **4. DESIGN AND MANUFACTURING INFORMATION**\n

## **4.1 Device Design**\n

Thermo Fisher is responsible for all product designs.

Formal design was also conducted in accordance with the Thermo Fisher’s own product specifications and technical drawings, and within the context of the Thermo Fisher’s design controls and Design History File (DHF) that fall under its QMS. The Device process flow chart is provided in **Appendix F– Design Process Flow Chart** of this Device Master File. Records of the results & conclusion of validation are provided in **Appendix G**.

The Product Design & Development process is divided into six phases:\n

**Propose Phase: ** The purpose of the phase is to determine market size, market potential, likely market acceptance, customer needs understanding, and to begin to sculpt the product concept. To define the project opportunity statement and give the development team a roadmap for success, it tests Usability Concept Models (UCM) to get customer feedback on the visual and interaction features of the product under development.\n

**Define Phase: ** The Define Phase is the foundation of the product development effort. The purpose of the Define phase is to provide the definition and the scope of an opportunity to meet the critical customer, market, and product need. Proof of Concept (POC) and ALPHA prototype builds occur in this phase.\n

**Plan Phase: ** The purpose of the Plan phase is to provide complete requirements and frozen engineering specifications derived from market needs and accurate financial analysis of the project with a defined confidence interval. The top system design that complies with the requirements will be chosen at this phase, which will also provide the first detailed analysis of the schedule, a plan with rationale to verify that all design inputs will be met, budget including CAPEX, and risks within the project.\n

**Verify Phase: ** The purpose of the Verify phase is to check compliance against frozen design specifications and to verify that the design meets the performance and reliability specifications. Also, to build working pre-pilot prototypes to qualify the product from performance point of view, to verify cell layout for manufacturing and assembly of product, and to qualify the product from customer point of view.\n

**Implementation Phase: ** The purpose of the implementation phase is to finalize the configuration of the work cell and to provide a consistent and repeatable production and purchasing process.  It is validation that the Design, Supply Chain, and Manufacturing Process are stable and culminates in a Pilot build.  The approval of this phase signifies that design output transfer has occurred.\n

**Audit Phase: ** The purpose of the audit phase is to commercialize the product and perform a project performance assessment (i.e. product, manufacturing, marketing/sales) to improve the process.\n

$ Text: -

## **4.2 Manufacturing Processes**

Introduction: Begin by explaining the importance of the manufacturing process. Highlight how it helps in producing high-quality products in an efficient manner, ensuring consistency and reliability.

Describe each step of the manufacturing process, one by one. Make sure to:

-Clearly explain what happens in each step.

-Use simple, easy-to-understand language.

Flow Sequence:

**Write very detailed descriptions for each step**, ensuring the sequence of 	operations is maintained.

**Provide Details: Describe each step minimum 50 to 60 words. **.

**do not generate main step and then sub step**

By following these instructions, you can create a clear, thorough summary that 	 captures the essence of the manufacturing process, step by step.

$ Static_Text: -

# **5. ESSENTIAL PRINCIPLES CHECKLIST**\n

Essential Principles Checklist for [Device Name] is provided in **Appendix I** of this Device Master File.

$ Text: -

# 6. RISK ANALYSIS AND CONTROL SUMMARY

Generate a concise yet comprehensive Risk Analysis and Control Summary that outlines the formal risk assessment conducted per applicable standards. Address how risks have been controlled to an acceptable level and justify residual risks through a risk-benefit analysis. Include risk acceptability criteria, standards followed and discuss potential hazards such as false positives/negatives, IVD-related risks, and user/operator safety concerns.

Note that ensure the entire description is structured as a single well-organized paragraph, free of unnecessary elaboration.

Please Do not mention standards More than one time in output make sure ISO with full name Mention only One time in output

$ Static_Text: -

This analysis was designed to identify potential hazards and failure modes of the different models of devices and assess the risk(s) associated with any potential hazards, as well as identifies hazard mitigation that has been incorporated into the design, to verify that safety risks have been eliminated or reduced to acceptable levels. Refer **Appendix J** for Risk Management plan, analysis, and report.

$ Static_Text: -

# **7. VERIFICATION AND VALIDATION OF THE MEDICAL DEVICE**\n

## **7.1 General**\n

[Device Name] has been designed, manufactured, and tested in accordance with Thermo Fisher design controls, QS and applicable verification and validation procedures and protocols that are reflective of these Class B medical devices. The extensive verification and validation testing that has been conducted on these devices has shown that they can perform to their stated intended use and specification requirements.

A general summary statement concerning each of the verification and/or validations methods used on the [Device Name] is shown in the sections below, while the complete validation protocols and reports, where applicable, and other supporting verification documentation are contained in **Appendix G** of this Technical File and includes the following:

$ Static_Text: -

**7.1.1. Electrical Safety and Electromagnetic Capability Testing**\n

The [Device Name] is considered an active device. The applicable electrical safety and electromagnetic tests are described in the table below:

$ Table: -

Table Name: - Table 15: Electrical Safety and Electromagnetic Capability Testing details

Table Requirements:

The table should contain exactly two rows, corresponding to the following test categories:

1) Electrical and Mechanical Safety: used safety report for data extraction

2) Electromagnetic Compatibility (Immunity & Emissions): used EMC report data for extraction

Columns [

-Test Description: Specify the name of the test. which are mentioned in above,

-Applicable Standard: extract relevant standard for the test. From the input text,

-Report Number (including testing organization if applicable) and Date: write        the report number which mention in input text corresponding the test wise input text

1) Electrical and Mechanical Safety: used safety report for data for report number extraction

2) Electromagnetic Compatibility (Immunity & Emissions): used EMC report data for report number extraction

-Acceptance Criteria:

-For Electrical and Mechanical Safety write as-is: “Refer to the test report (Appendix C)”

-For Electromagnetic Compatibility (Immunity & Emissions) write as-is: “Refer to the test report (Appendix D)”

-Conclusion: write as-is “Test object does meet the requirement”

$ Text: -

7.1.2. Performance Evaluation \n

write device category and storage of intended use (do not write general way like biological sample, material give proper name from intended use) and give the temperature range from intended use. write in single 2-line paragraph form.

add as it is "The applicable performance related tests are described in the table below:"

$ Table: -

- You are given an input text that describes various test, but your task is to extract those tests which performance-related tests. And Performance tests explicitly mentioned in the input text.

Your task is to extract the relevant details and organize them into a table with the following structure:

Table Name: - “Table 16: Performance Evaluation Test Details”

Columns should be in this format: [Test Description, Applicable Protocol, Report Number, Acceptance Criteria, Conclusion

]

Test Description: This column should capture the name or title of the performance-related test mentioned in the input text. The test title is extracted directly from the provided text.

Acceptance Criteria: In this column, the acceptance criteria for the test should be extracted and clearly stated, as described in the input text.

Applicable Protocol: This column should identify the protocol associated with each test, formatted as "ETP-ULT-033-2," "ETP-ULT-024," etc. If only "ETP" is mentioned in description of Traceability Matrix table without any number with ETP, then write entire the test description in Applicable Protocol column

Report Number (including testing organization if applicable) and Date: This column should list the report number, which is found in the input text. For example, if the text contains "pdf_path: 19715 Pioneer 2 D3 Verify Phase Review," the report number extracted would be "19715."

Conclusion: The conclusion should be stated in this column. By default, the conclusion is marked as "Pass" unless otherwise specified in the input.

Important Guidelines:

- Only include performance tests explicitly mentioned in the input.

$ Text: -

## 7.2 Biocompatibility\n

Assess whether biocompatibility testing is required for [Device Name]. Provide the response in a single paragraph with no subheadings. Address the nature and duration of user interaction, including any transient direct skin contact (e.g., door handles, shelves) and its duration (e.g., continuous use < 60 minutes), the materials used in the device, their inert properties, and potential risks. Reference any applicable safety files or documentation supporting the material properties and risk assessment. Discuss the applicability of EN ISO 10993-1 standards based on the type of contact, materials, and intended use. Conclude with a clear justification on the necessity of biocompatibility testing.

$ Text: -

## 7.3 Medicinal substances \n

State whether the [Device Name] utilize, or are used in conjunction with, any medicinal substances or substances absorbed by or locally dispersed in the human body. If the device is a system and includes multiple components, identify the components which incorporate these medicinal substances. If no medicinal substances are used, state: The {device} does not have any medicinal substances associated with the use or application of the device.

$ Text: -

## 7.4 Biological safety \n

If the device is a system and includes multiple components, identify the components which use these biological materials.:

State: whether the [Device Name] uses any biological material or materials of animal or human origin.

If no biological materials are used:

state: The [Device Name] does not use any biological material or materials of animal or human origin.

$ Text: -

## 7.5 Sterilization \n

State whether  [Device Name] is sterile or intended to be sterilized by the user. If the device is a system and includes multiple components, identify the components which are sterile or intended to be sterilized. If the device is non-sterile and not intended to be sterilized, state: The [Device Name] is a non-sterile device and is not intended to be sterilized by the user.

$ Static_Text: -

## **7.6 Software verification and validation**\n

The [Device Name] includes the following software with the respective EN 62304: 2006/A1: 2015 risk classification.

$ Static_Table: -

Table 17: Software verification and validation details

| Software Components and Classification Software Risk Class | Software Version |
| --- | --- |
| User Input Required | User Input Required |

$ Static_Text: -

The software design and development process were performed in compliance with EN 62304: 2006/A1: 2015 and internal software development procedures established in QAP 706.

The software documentation, compiled based on its EN 62304:2006/A1:2015 software safety classification, is provided in the referenced file; refer to **Appendix K** for the Software Verification and Validation Reports.

$ Static_Table: -

Table 18: Software documentation details

| EN 62304 |  |  | Software Risk Class (Documentation Requirements for each classification) |  |  |
| --- | --- | --- | --- | --- | --- |
| Section | Documentation Type | Document #, Title, Date | A | B | C |
| 5.1 | Software development planning | User Input Required | X | X | X |
| 5.2 | Software requirements analysis | User Input Required | X | X | X |
| 5.3 | Software architectural design | N/A | N/A | X | X |
| 5.4 | Software detailed design | N/A | N/A | N/A | X |
| 5.5 | Software unit implementation and verification | N/A | N/A | (X) | X |
| 5.6 | Software integration and integration testing | N/A | N/A | X | X |
| 5.7 | Software system testing | User Input Required | X | X | X |
| 5.8 | Software release | User Input Required | X | X | X |
| 6 | Software risk management | User Input Required | X | X | X |
| 7 | Software configuration management | User Input Required | X | X | X |
| 8 | Software problem resolution | User Input Required | X | X | X |

$ Text: -

## 7.7 Animal studies \n\n

State whether the [Device Name] is subjected to animal studies and provide justifications if animal studies are not deemed necessary. If no animal studies are conducted, state: The {device} is not subjected to animal studies as the device does not have direct contact with patients. Therefore, animal studies are not deemed necessary.

$ Text:

## 7.8 Stability Data:/n/n

Write as-is: “[Device Name] is operated on a continuous basis. Hence the stability data is not applicable.”

Write the expected useful life and how it's supported (e.g., test data, literature). Describe how reliability has been demonstrated (e.g., validation, field performance). Output within in 3 to 4 lines no sub heading and in one paragraph.

$ Static_Text: -

## **7.9 Clinical Evidence: **\n

User Input Required

$ Text: -

## 7.10 Post Marketing Surveillance data (Vigilance reporting): -

Write a concise summary of the post-marketing surveillance data for the [Device Name]  from Thermo Fisher Scientific in a few lines. The summary should explicitly mention the device name and 'from Thermo Fisher Scientific.' Focus on key performance achievements, clinical data, post-market data, and overall device reliability. Include specific numerical data (e.g., complaint rates calculated as the number of complaints divided by total sales(state 'zero complaints' if there are no complaints, or provide the percentage if complaints exist), adverse event statistics) and reference timeframes (e.g., 'since initial commercialization + Year'). Avoid using subheadings, specific model names (beyond the general device name), country names, or regions. Ensure the narrative is clear, concise, and written in paragraph form.

$ Static_Text:-

Thermo Fisher maintains quality and regulatory policies and procedures related to the areas of device Complaint Handling, Advisory Notices, CAPA, Adverse events, Recall. Vigilance and Post Market Surveillance for the manufacture, sale and distribution of its products. Refer **Appendix N** for PMS Plan.

Thermo Fisher produces a Device History Record that contains all documentation related to manufacturing and product line inspection and testing of the devices, and it demonstrates that the device was manufactured according to the information in the device master record, this record also contains the batch release information, and a few samples are contained in the **Appendix O- Final Inspection Certificate** of this device master file.

$ Static_Table:-

| # Annexure A: List of Appendices |  |
| --- | --- |
| Appendix A | Instruction for Use/User Manual |
| Appendix B | Degree of Novelty Card |
| Appendix C | Safety Test Report |
| Appendix D | EMI/EMC Test Report |
| Appendix E | Technical Data Sheet, Product Brochure and Labels |
| Appendix F | Design Process Flow Chart |
| Appendix G | Verification & Validation Test Reports |
| Appendix H | Manufacturing Process Flow Chart |
| Appendix I | Essential Principles Checklist |
| Appendix J | Risk Management file |
| Appendix K | Software Verification & Validation Reports |
| Appendix L | Clinical Evaluation Plan |
| Appendix M | Clinical Evaluation Report |
| Appendix N | Post-Market Surveillance Plan |
| Appendix O | Final Inspection Certificate |