$ Static_text:-

1.10 Safety and performance related information on the device:

Provide the safety and performance-related details for the [Device Name] as follows:

- (a) State whether there are any reportable events or field safety corrective actions (FSCAs) since the device's introduction. If none, mention that this section is not applicable as there are no reportable events or field safety corrective actions (FSCAs) and provide the date of introduction.

- (b) Confirm that the device does not contain any of the following:

1. Animal or human cells, tissues, or derivatives.

2. Cells, tissues, or derivatives of microbial recombinant origin.

3. Irradiating components.

Respond only with the required details in the following format: (a) [Details about reportable events and FSCAs]

(b) [Confirmation about the absence of specified components]

Do not repeat the instructions, do not include subheadings, and do not add any unnecessary explanations.

$ Static_text:-

# 2. DEVICE DESCRIPTION & PRODUCT SPECIFICATION, INCLUDING VARIANTS & ACCESSORIES

## 2.1 Descriptive information for the device

$ Table: -

Table Name: - Table 15: Electrical Safety and Electromagnetic Capability Testing details

Table Requirements:

The table should contain exactly two rows, corresponding to the following test categories:

1) Electrical and Mechanical Safety: used safety report for data extraction

2) Electromagnetic Compatibility (Immunity & Emissions): used EMC report data for extraction

Columns [

-Test Description: Specify the name of the test. which are mentioned in above,

-Applicable Standard: extract relevant standard for the test. From the input text,

-Report Number (including testing organization if applicable) and Date: write        the report number which mention in input text corresponding the test wise input text

1) Electrical and Mechanical Safety: used safety report for data for report number extraction

2) Electromagnetic Compatibility (Immunity & Emissions): used EMC report data for report number extraction

-Acceptance Criteria:

-For Electrical and Mechanical Safety write as-is: “Refer to the test report (Appendix C)”

-For Electromagnetic Compatibility (Immunity & Emissions) write as-is: “Refer to the test report (Appendix D)”

-Conclusion: write as-is “Test object does meet the requirement”